| {Logo} | {Contrctor Company Name} {Company Address} {Company phone} |  | Date: |  |
| --- | --- | --- | --- | --- |
|  |  |  | Technician Name: |  |
|  |  |  | Tech. Signature: |  |

| Location |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Name of facility: |  |  | Address: |  |  |
| Contact name at the facility: |  |  | Contact phone: |  |  |

| Compliance |  |  |  |  |
| --- | --- | --- | --- | --- |
| System Compliant? | ☐Yes ☐No – describe: |  |  |  |
| If noncompliant, is there an immediate danger to health or safety? |  |  |  | ☐Yes ☐No ☐N/A |
| Is the fire suppression system up to date? |  | ☐Yes ☐No ☐Unknown |  |  |

| Hood System |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Type: ☐Canopy ☐Backshelf ☐Downdraft ☐Ceiling ☐Water wash ☐Ultraviolet ☐Other: _____________________________________ |  |  |  |  |  | Fuel type(s) present: ☐Natural Gas ☐Propane ☐Electric ☐Solid Fuel ☐Other: |
| Is the filter condition satisfactory? |  | ☐Yes ☐No |  |  |  |  |
| Number of duct access panels? |  |  |  |  |  | Cooking operation: ☐High-volume (24 hr, charbroiling, or wok) ☐Low-volume (places of religious worship, seasonal business, senior centers) ☐Operations utilizing solid fuel-burning appliances ☐All other cooking operations |
| Exhaust fan location? |  | ☐Roof ☐Wall ☐Other: ________ |  |  |  |  |
| Number of floors of system? |  |  |  |  |  |  |
| Is there safe access to the fans? |  | ☐Yes ☐No |  |  |  |  |
| Is there grease leakage on roof? |  | ☐Yes ☐No |  |  |  |  |
| Does the duct leak? |  | ☐Yes ☐No |  |  |  |  |
| Describe the fan switch condition: |  |  |  |  |  | Cooking style(s): ☐Deep Fat Frying ☐Griddle ☐Char Broiler ☐Oriental ☐Other: ____________________________ |
| Any areas noted with extreme build up? |  |  | ☐No ☐Yes |  |  |  |
| Describe: |  |  |  |  |  |  |

| Grease Buildup in System |  |  |  |
| --- | --- | --- | --- |
| Hood Interior: | ☐2000 microns ☐2000 microns (1/12”) ☐3175 microns (1/8”) ☐extreme buildup (1/2”) |  |  |
| Duct within 1’ of hood: | ☐2000 microns ☐2000 microns (1/12”) ☐3175 microns (1/8”) ☐extreme buildup (1/2”) |  |  |
| Duct 1’ of fan intake: | ☐2000 microns ☐2000 microns (1/12”) ☐3175 microns (1/8”) ☐extreme buildup (1/2”) |  |  |
| *** DUE TO FIRE HAZARD IMMEDIATE ACTION REQUIRED FOR ALL AREAS THAT HAVE GREASE BUILDUP IN EXCESS OF 3175 MICRONS (1/8”)*** |  |  |  |

Additional Comments