Construction Fire Safety Plan

| Project |  |
| --- | --- |
| Project Name: |  |
| Address: |  |
| Anticipated Start Date: |  |
| Anticipated End Date: |  |

| Responsible Party |  |
| --- | --- |
| Lead Contract Company: |  |
| Primary Point of Contact: |  |
| Point of Contact Number: |  |

Summary Scope of Work

| The plan must be posted in a conspicuous place on the job site, available for employees, and provided to the local AHJ. The document must be updated as changes occur. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Plan | Version Date | Date Staff Updated | Date AHJ Updated | Notes |
| Initial |  |  |  |  |
| Revision |  |  |  |  |
| Revision |  |  |  |  |
| Revision |  |  |  |  |
| Revision |  |  |  |  |

# General Information

Purpose and Scope

Provide a consistent method of developing and maintaining an approved prefire plan for construction sites in order to increase fire safety and maintain compliance with the adopted Fire Code (IFC 3308.2).  A written Construction Fire Safety Plan is required for all construction sites.

Content & Layout

Content shall be site and building specific for each construction project, general policies or procedures may be attached to the plan and noted in the appendix, however, the site specific details outlined below must be included.

Fire Department Information

The Charleston Fire Department Fire Marshal Division is available to assist with developing this document and all updates must be submitted upon completion.  Email questions or updates to CFD@charleston-sc.gov.

Fire Prevention Program Superintendent Responsibilities (IFC Section 3308)

The Site Superintendent shall be considered the Fire Prevention Program Superintendent unless this roll is designated, in writing, to another team member.  The responsibilities include:

- Developing a written site specific plan

- Training of supervision of staff to maintain compliance with the plan

- Protection of adjacent buildings

- Security of site

- Access routes for firefighting

- Hot work requirements, including internal permits

- Temporary heating equipment safety

- Control of ignition sources

- Protection during fire protection system impairments and fire watch

- Shall provide notification of changes to this document to City of Charleston FMD

Annual Inspections & Maintenance Reports

When applicable, the most recent annual inspection and maintenance reports for fire protection systems in existing facilities will be added to the appendix.  This includes reports for private fire hydrants, existing fire sprinkler, standpipe, and fire pumps, existing fire alarm, and other suppression systems.

Instructions to Occupants

When applicable, site specific training and instructions will be provided to occupants to include sounding of fire warning devices, notifying the fire department, evacuating occupants, confining and controlling fires, and predetermined locations of muster points.

Appendices

Additional information shall be included in separate appendices as noted:

- Appendix A – Site Diagram (Include in all plans)

- Appendix - Storage methods for commodities and dangerous goods

- Appendix - General polices & procedures, hot work permit process, etc.

- Appendix - Fire separation diagram for partially occupied buildings

- Appendix - Annual Inspection and Maintenance Reports (existing facilities)

# Emergency Contact Information

Emergency: 9 1 1

Non-emergency:

- Charleston County Consolidated Dispatch (911 Center): 843-743-7200

- Charleston Fire Department: 843-720-1981

- Charleston Police Department: 843-577-7434

- Charleston County Sheriff: 843-202-1700

- Charleston County EMS: 843-202-6700

Non-emergency – Utilities:

- Berkeley Electric Cooperative: 1-888-253-4232

- Charleston Water System: 843-727-6800

- South Carolina Electric and Gas (SCE&G): 1-800-251-7234

| Designated Fire Prevention Program Superintendent |  |  |  |
| --- | --- | --- | --- |
| Name | Company | Title | Cell Phone |

| Construction Project Emergency Contact(s) |  |  |  |
| --- | --- | --- | --- |
| Name | Company | Title | Cell Phone |

| Owner(s) |  |  |  |
| --- | --- | --- | --- |
| Name | Company | Title | Cell Phone |

# Site Information

- Building Description

  - Type of construction:

  - Stories above grade:

  - Stories below grade:

  - Year of construction:

  - Type of construction:

  - Previous use/occupancy:

  - Proposed use/occupancy:

- Exiting

  - Number of stairways (each should be numbered/identified):

  - Location of stairways:

- Electrical Disconnect Location(s)

  - Location and area served:

- Gas Shut-Off Location

  - Location and area served:

- Portable fuel tank(s)

  - Location, contents, and gallons:

- Hazards (General description, identification, and location of hazards.  Details on the storage and management of hazardous materials, chemicals, flammable/combustible liquids, and compressed gases must be included in a separate appendix):

- Sprinkler System Description / Location / Status (under construction, completed, inspected):

- Standpipe Description / Location(s) / Status (under construction, completed, inspected):

- Water Shut-Off Location(s):

- Crane, number, height:

- Location of vertical openings such as elevator shafts or service and utility shafts:

- AED (automated external defibrillator) provided on site and location(s):

# Fire Department Information

- Fire Department Access Routes

  - Primary:

  - Secondary:

  - Special notes regarding access:

- Fire Hydrant Location

  - Hydrant 1 – location and estimated distance:

  - Hydrant 2 – location and estimated distance:

  - Hydrant 3 – location and estimated distance:

- Fire Department Connection(s)

  - Location, area served, temporary or permanent:

- Existing standpipes

  - Location, area served

- Construction standpipes

  - Location, area served:

- Knox Box Location(s):

- Knox Padlock Locations(s):

- MSDS binder location:

- Attic Access location (existing buildings):

- Fire escape locations (existing buildings):

- Storage location of flammable or combustible liquids:

# Security Plan

Briefly describe how the construction site will be secured at night:

When security staffing if provide, list the company name and contact information:

If the site is fenced and locked, describe the type of fencing, locking mechanisms and where locks can be located:

# Appendix A – Site Diagram

Provide a site diagram. Identify Fire Department Access, hydrants, fire department connections (FDC), gas shut off, electrical meters, and hazards.