Fire & Emergency

Action Plans

Fire & Emergency

Action Plans

[Insert a photo of your facility]

[Insert a photo of your facility]

[Facility Name]

[Facility Address]

Version: [Date]

[Facility Name]

[Facility Address]

Version: [Date]

[Work through the document and update all sections that are highlighted, remove non-applicable items, and add specific plans or procedures based on your facility]

Table of Contents

General Information	3

Emergency Contact Information	4

Primary Contact Information	5

Emergency Evacuation Plan	6

Fire Safety Plan	12

Active Shooter Plan	17

Lockdown Plan	21

Crowd Management Plan	24

Severe Weather Plan	28

Earthquake Plan	32

Medical Emergency Plan	34

Bomb Threat Management	37

Security Threats and Assessments	44

Appendix A – Emergency Evacuation Diagram	46

Appendix B – Building Life Safety Resources	47

Appendix C – Pre-event Emergency Announcement	50

Appendix D – Fire Drill Record	51

Appendix F – Hazardous Materials Stored on Premises	52

# General Information

Applicability

The Fire & Emergency Action Plan is Intended for all team members and occupants of the [Facility or building name] at [Address].   Everyone shall comply with the plan to promote prevention, reduce risk, and minimize injury.

Intent

The information contained within the document is intended to provide the best-known practices identified at the time of the last update.  All team members are encouraged to provide feedback and updates to the document.

Document Layout

The document provides an overview of key topics that impact our operation.  Each section begins with an “Action” section which is intended to provide an overview of key items and serve as a quick reference.  The rest of the information within each section should be used as training material to further understand the topic.

Training

Supervisors must ensure new employees or members transferred to a section or group are familiar with the emergency plans.  New employees should be provided with an overview of the plan and provided a copy or directions on how to reference the material.  Each employee must familiarize themselves with the content of the document.

Planning Committee

The following personnel were involved with the initial development of this document:

[List members involved with development]

Issue and Revision Dates

[Running list dates drafts, revisions, or final documents were issues]

# Emergency Contact Information

Emergency:

- All emergencies: 911

- Internal phone system: Employees can dial 911 directly or 9-911, both methods will connect you to the 911 operator.

Non-emergency – Charleston:

- Charleston County Consolidated Dispatch (911 Center): 843-743-7200

- Charleston Fire Department: 843-720-1981

- Charleston Police Department: 843-577-7434

- Charleston County Sheriff: 843-202-1700

- Charleston County EMS: 843-202-6700

Non-emergency – Berkeley:

- Berkeley County Communications (911 Center): 843-719-4505

- Berkeley County Sheriff: Non-Emergency: 843-723-3800

Non-emergency – Utilities:

- Berkeley Electric Cooperative: 1-888-253-4232

- Charleston Water System: 843-727-6800

- South Carolina Electric and Gas (SCE&G): 1-800-251-7234

# Primary Contact Information

After implementing the necessary emergency action plan and notifying 911, it may be necessary to make additional contact with key representatives.  The following personnel may be contacted 24 hours a day in the event of an emergency at this location.

| Facility Maintenance or Building Managers |  |  |  |
| --- | --- | --- | --- |
| Name | Title | Cell Phone | Key Holder |

| Primary Contacts By Division/Department |  |  |  |  |
| --- | --- | --- | --- | --- |
| Suite | Name | Title | Division/Department | Cell phone |

# Emergency Evacuation Plan

Compliance Codes:  2015 International Fire Code Chapter 4; OSHA Standard 1910

Action

When to evacuate the building:

- Fire, suspected natural gas leak, or other hazards that present an immediate threat to staff or citizens.

Who should initiate the evacuation:

- All staff members have the ability to initiate an evacuation based on the perceived hazard.

- Emergency responders who arrive and determine an evacuation is necessary.

Evacuating the building:

- Notify occupants in the immediate area of the need to evacuate.

- Do not take time to gather items from the work area or personal belongings.

- When it is safe to do so, isolate the hazard by closing door(s) to the area.

- When applicable, the team member in control of amplified music or sound effects will turn off all amplified music to ensure the fire alarm system or announcements can be heard.

- When it is safe to do so, provide assistance to those in need.

- Select the shortest and/or safest path to exit, notifying others along the way to evacuate.

- If your primary exit is compromised, proceed to your secondary exit.

- When evacuated due to a fire, activate the building fire alarm system by using the manual pull stations that are located near exits.

- Proceed to the exterior of the building and report to your designated assembly area.

- When it is safe to do so, supervisors should remain at the exit doors and direct members to the assembly area until the majority of the building has been evacuated, then close exterior doors.

Assembly Area

- When safe to do so, proceed to the building evacuation assembly area(s) (see next page).

- Alternative site evacuation areas will be utilized when the building evacuation assembly area(s) is unsafe or when re-entry will not be permitted for an extended period of time (see next page).

- All team members should receive instructions on the assembly location(s) and the available routes to reach the assembly area(s).

Accountability

- Supervisors will report to the designated assembly area and initiate accountability, which is the process of identifying any potentially missing personnel.

- Designated senior staff should meet with arriving emergency personnel to provide an update on accountability and the situation.

- Cooperate with all emergency services personnel. Re-entry is not permitted until approved.

[Insert area map or aerial image of the evacuation assembly area – mark the assembly area on the map]

[Insert area map or aerial image of the evacuation assembly area – mark the assembly area on the map]

Evacuation Assembly Area

Building Evacuation Assembly Area Description:

All building occupants will evacuate the facility using the nearest exit and then report to one of the following areas:

- [Written description of the assembly area]

Site Evacuation Assembly Area Description:

In the event staff cannot safely meet at the building evacuation assembly point, or when re-entry may not be permitted for an extended period of time, staff will proceed to the [Identify alternate off-site location].

- [Identify path or walking route to safely reach the alternate location.  List multiple directions if the building will be broken into sections, floors, or areas that may need to follow different routes]

Background

Evacuations are a serious matter and have the potential to save lives, but they must be carefully considered as they can create safety concerns simply by forcing an unnecessary evacuation.  Building evacuations may be necessary for a variety of circumstances, and may be a complete building evacuation, or a partial evacuation such as clearing one or more floors, an office, or a quadrant for example. Team members should make every attempt to remain familiar with their surroundings to ensure they are aware of at least two routes for evacuation.

The decision to evacuate can be made by any team member who has identified or perceived a possible threat to building occupants that requires an evacuation.  When practical, team members should work with supervisors to efficiently determine the extent of the evacuation needed.

Responsibility

Supervisors are responsible for ensuring their team members receive training in the evacuation procedures and remain familiar with these expectations.

All team members must remain familiar with evacuation expectations, aware of their surroundings, and identify multiple egress routes from their work area.

All employees are required to participate in every evacuation as directed by the alarm system, announcement, or by other personnel.  Team members shall take all alarms seriously and participate in all drill activities to ensure proficiency and preparedness.

Training Requirements

Supervisors will conduct and document initial emergency plan training with all newly hired or assigned employees.

Supervisors will conduct annual refresher training on the emergency plan with all assigned employees.

All training must be documented and retained in accordance with facility policies.

Planning & Preparedness

- When to evacuate: Building or area evacuations may be necessary for a variety of circumstances including fire, suspected natural gas leak, potentially during an active shooter incident/threat, or other immediate threats to building occupants.  Evacuations could be complete or partial and isolated to a floor, a quadrant, or an office.

Evacuations are necessary when it will likely improve the immediate situation or the survivability of an escalating event.  Evacuations are a serious matter and have the potential to save lives, but should be carefully considered as they can create safety concerns simply by forcing an unnecessary evacuation.

The evacuation area should be kept as small as possible, but when in doubt, evacuate the entire building.

- Who should initiate the evacuation:  Typically, the decision to evacuate can be made by any team member who has identified or perceived a threat.  Team members should work with supervisors, when practical, to determine the extent of the evacuation.

Additionally, emergency services may arrive and determine an evacuation is necessary and direct staff to initiate their evacuation process.

- Notifying Staff and Patrons of an Emergency:  In the event of emergency all team members and patrons will may be alerted by the building fire alarms system, announcements through the building wide public address system, or verbal announcements within a work area [Clarify based on the available systems or methods in the building].

- Fire Alarm System [Clarify or remove if not applicable] – Once the fire alarm system has been activated, the horns will begin to alarm and the strobes will flash.  All members will proceed with their evacuation procedures and exit the building until alternate directions are issued.

- Public Address System [Clarify or remove if not applicable] – The building is equipped with a building public address system that operates through the fire alarm system.  Authorized members may access the designated announcement point to provide additional details regarding a current fire alarm activation or may utilize the system for optional emergent announcements.  Staff should not wait for an announcement before taking action.

  - Example for General Evacuation: “Attention. Attention. An emergency has been reported in the building. Please proceed to nearest exit and evacuate the building in an orderly manner. Please notify a staff member if you are in need of assistance.”

  - Example for Emergency Lockdown - when possible, and if it is safe to do so, designated personnel should make a building wide announcement: “Attention. Attention. Emergency Lockdown. Emergency Lockdown. Emergency Lockdown.”

  - Example for Administrative Lockdown - when possible, and if it is safe to do so, designated personnel should make a building wide announcement “Attention. Attention. Administrative Lockdown. Administrative Lockdown. Administrative Lockdown.”

- Verbal Announcements [Clarify or remove if not applicable] – Anyone can make a verbal announce to alert other people in the direct area of a problem and request them to call for assistance.  If it is safe to do so, staff/security should go through the building to make verbal announcements of a problem, restrict certain actions in a specific area, lead people away from a problem, or assist in evacuation.

- Response to Building Evacuation Command:  All other personnel should evacuate the building immediately by means of the nearest and safest available marked exit.

- Exits: [Clarify or remove if not applicable] The primary and secondary building exits are marked with green, illuminated, “Exit” signs throughout the building.  Following the marked exit path will lead you out of the building. Exit doors must remain free and clear of obstructions at all times, in both the interior and exterior path of the doorway.  Employees should take action to immediately eliminate obstructions and then report the issue to their supervisor.

Exit doors are required to remain accessible and clear from the exit side – only specific door hardware is permissible on exit doors and no additional hardware may be added without proper review and approval by code officials in the jurisdiction.  A simple rule of thumb everyone should remember when reviewing exit door hardware – “you can lock me out, but you cannot lock me in.”

Exit configuration in this facility [Clarify or remove if not applicable] is designed to exit all occupants of the and are generally located at:

[Insert photo of a typical exit door]

[Insert photo of a typical exit door]

The primary entry located at the core of the building in the shared lobby, facing both George Street and Calhoun Street, provides the most recognized point of entry and exit.  Keep in mind, people want to exit the same way that they entered, so it is critical to take note of secondary exit opportunities.

- The secondary exit areas generally consist of marked exits paths that lead to stairways or ti exterior doors.

- Stairwells are located at each end of the East and West wings and provide a safe egress path to the first floor and to the exterior of the building.

[Insert photo of elevator signs]

[Insert photo of elevator signs]

Elevators: [Clarify or remove if not applicable]Elevators are typically not intended for use during an emergency situation or during an evacuation.  There are some limited exceptions in multi-story buildings, however, the elevators located in our facility are not equipped with emergency power and were not designed as part of the exit strategy.  It may be possible to utilize an elevator in our facility early during the evacuation phase if smoke and fire are not present.  Elevators will automatically shut down if smoke is detected in the lobby or within the elevator shaft.

All building occupants who are capable of self-evacuation should utilize the common exits paths described in the previous section.  Those in need of further assistant may need to be relocated to a safe area such as an area of refuge or area of rescue assistance.

- Areas of refuge or rescue assistance:  [Clarify or remove if not applicable]Multiple story buildings are often provided with area of refuge or rescue assistance.  These areas are often provided within stair landings or areas immediately adjacent to fire rated enclosures that are along the exit path.  These spaces must be clearly labeled and provided a means of communication.  These spaces are designed and regulated by the Fire and Building Codes and should not be arbitrarily established by staff.

- Evacuating the building: Team members should make every attempt to remain familiar with their surroundings to ensure they are aware of at least two routes for evacuation before and during an emergency.

Your number one priority is to get yourself out of the building – the more people who are able to quickly self-evacuate the better.  When it is safe to do so, team members should assist others with evacuation.  Supervisors should develop additional response considerations for any member of their team who may need assistance during the evacuation.   If you encounter people who cannot or did not evacuate the building (for any reason), continue your evacuation and then notify emergency personnel once you are outside of the building.

Exit the building and, if it is safe to do so, proceed to your pre-established building evacuation assembly area.  Begin to assist with accountability by identifying your fellow team members who have exited and those who may not have reported to work and update the necessary supervisor in the assembly area.  No one should re-enter the building until directed to do so by a responsible party.

A designated site evacuation assembly area has been identified in the previous sections.  This location may necessary in the event the primary evacuation point is unsafe, situations that may prevent re-entry for an

- Sheltering in place:  Certain emergencies require occupants to seek shelter within the building.  This situation may arise during certain weather events, if exits are compromised, or situations where exiting may pose a greater hazard.  In general, these situations may include:

- Severe weather:  It may be necessary to seek shelter during a tornado or other severe weather event.  Proceed to the lowest level within the building and seek shelter in an interior, windowless room.  If windowless room is not available, shelter as far from the window(s) as possible and locate items in the room that may provide protection (such as a table).  Interior stairwells and bathrooms may provide adequate shelter as well.

- Fire or smoke with obstructed exits:  It may be necessary to seek shelter if the exits are blocked by fire or smoke.  If exiting cannot be done safely seek out an exterior room with a window and close as many doors between you and the fire as possible.  Contact 911 and notify them of your location.

- Active shooter:  During an active shooter situation your priority is to exit (“Run”).  If this is not possible you need to seek shelter (“Hide”).  When possible, seek out an area with solid doors (no window), no side light or windows, and place as many doors between you and the hazard.  Offices or storage areas that can be locked (with an approved locking mechanism) should be considered and identified as part of the pre event planning in your work area.  Multiple safe areas should be identified and utilized to disperse employees as quickly as possible.  It may be necessary to consider utilizing available items to barricade doors that cannot be locked or to reinforce the door.

- Accountability: [Clarify or remove if not applicable] The number of occupants in the facility varies greatly and you should make a reasonable effort to evacuate visitors while you exit the building and notify your supervisor, after exiting, of any visitors who refused to leave.  The area managers should maintain a list of all employees working during each shift or event and attempt to account for employees after exiting and reporting to the designated evacuation point.  .  It is the responsibility of the employees to notify the manager that they have exited the building.

- Search and rescue duties: All search and rescue functions will be performed by responding emergency personnel.

# Fire Safety Plan

Compliance Codes: 2015 International Fire Code Chapter 4; OSHA Standard 1915

Action

Discovery of a fire

- Announce to everyone in the area that there is a fire and where the fire is located.

- Provide evacuation assistance to those in the immediate area.

- If it is safe to do so, close doors in the immediate area to isolate the fire.

- Initiate the emergency evacuation plan, announcing to those that you pass as you exit to leave the area.

- Proceed to the nearest exit and continue out of the building.

- If smoke is encountered, seek a secondary exit.  If a secondary exit is not available and it is safe to do so, stay low, under the smoke layer, and proceed to the exit.

- Activate the nearest fire alarm pull station.

- Once safely exited and it is safe do so, contact 911.

Controlling a fire

- Only staff trained in the use of fire extinguishers should attempt to extinguish a small fire.

- Direct an occupant to contact 911 immediately, advising dispatch of the location of the fire as well as the success or failure of the extinguishment attempt.

- Evacuate those in the immediate area before discharging the fire extinguisher.

- If it is safe to do so and you have received training, obtain the nearest fire extinguisher and attempt to extinguish the fire.

- Always position yourself between the exit and the fire.

- If the fire is not controlled by one fire extinguisher, evacuate and isolate the area by closing the doors near the fire area.

- If the fire alarm has not been activated, activate the alarm.

- Evacuate the building and verify 911 has been notified.

Evacuation due to a fire

- Upon activation of the building fire alarm system, announcement of a fire emergency, or other method of notification, initiate the evacuation plan and immediately evacuate without delay.

- Members in control of amplified music or similar items will, when it is safe to do so, turn off these elements to ensure the fire alert notifications can be heard.

- Direct staff and visitors to the nearest exit.

- Proceed to the designated assembly points identified in the evacuation plan.

- Once everyone has successfully vacated the premises and has been accounted for, all doors to the facility shall be shut to prevent the spread of smoke and fire as well as re-entry into the premises.

- Prevent re-entry until approved by the emergency responders.

- Cooperate fully with all emergency responders.

Background

A fire event within any building has the potential to pose a significant threat to lives and property.  Proper planning and preparedness will help to ensure the safety of our team and customers while minimizing property damage and reducing business interruption.

Each member of our team must understand the potential fire threats in their immediate work area and within in the building. This includes understanding the direct fire hazards, hazards related to products, processes, or occupants, and the difficulties potentially faced while evacuating.

Responsibility

Supervisors are responsible for ensuring their team members receive training in the fire safety plan and remain familiar with these expectations.

All team members are responsible for remaining familiar with the fire safety plan and evacuation expectations, are aware of their surroundings, and identify multiple egress routes from their work area.

All members are responsible for evacuating the building when a fire is discovered, announced, or the fire alarm activates for any reason.  Team members shall take all alarms seriously and participate in all drill activities to ensure proficiency and preparedness.

Training Requirements

Supervisors will conduct and document initial emergency plan training with all newly hired or assigned employees.

Supervisors will conduct annual refresher training on the emergency plan with all assigned employees.

All training must be documented and retained in accordance with agency policies.

Planning & Preparedness

- Life Safety Strategy:

  - All staff members are responsible for maintaining a safe environment in the workplace before an emergency occurs.  This includes reporting hazards or concerns in an effort to prevent or reduce a hazard.

  - Maximum and safe occupant loads must be maintained.  Exceeding the approved capacity/occupancy load (staff included) may put lives in jeopardy. To ensure staff and occupant safety, supervisors must ensure the occupancy does not exceed the posted occupant loads within the assembly spaces.

  - In the event of a fire, all employees will make a reasonable effort to ensure that fire and smoke does not spread through the facility by taking safe and proper precautions to contain or suppress the fire.

  - All team members are responsible for reducing hazards in their work areas and minimizing risk.  Managers may delegate specific staff to monitor conditions in various work areas, but all team members must be diligent in order to ensure that minimum life safety requirements are maintained.

  - Areas used as assemblies’ will should have a staff to guest ratio of approximately 1 staff member for every 30 guests in order to help manage an event space.

  - All temporary staff shall be trained on the fire safety and evacuation plans prior to any event and as part of their employment in the facility. Training will be documented and training records will be retained for at least three years.

- Getting to know the fire safety equipment in our facility:

In order to improve fire safety, our building has been equipped with:

  - [Clarify or remove if not applicable]Smoke detection that will generate an automatic alarm is located near throughout the building, near the elevators, and within the HVAC system.  Smoke detectors, when activated, will trigger the building-wide fire alarm system.

  - [Clarify or remove if not applicable]Manual fire alarm pull stations are located at primary exits points or along the designated exit path.  The fire alarm pull stations will activate a general fire alarm in the building and will notify the alarm monitoring service.  The alarm monitoring service will contact 911 to dispatch fire and emergency personnel to the building

  - [Clarify or remove if not applicable]Horn and strobe devices that activate during a fire alarm to alert all occupants of the building of the need to evacuate.

  - [Clarify or remove if not applicable]Fire sprinkler system that will activate only in the area where a fire is located, once the sprinkler head reaches a set temperature.  These devices help confine and sometimes control a fire.

  - [Clarify or remove if not applicable]Fire rated doors at the stairwells and along the corridor.  These doors help limit or reduce the movement of smoke and fire in the building and must remain closed or setup to close automatically.

- Daily Safety Checks:

  - Each day, supervisors should ensure the items listed below have been checked and are in working order.

  - Keep interior and exterior landings, hallways, and exits free of obstructions at all times.

  - Do not allow accumulation of combustible/hazardous materials as they may constitute a fire hazard.

  - Enforce no smoking policies or designated smoking areas.  Designated outdoor smoking areas must be routinely cleaned and provided with a non-combustible butt receptacle.

  - Ensure there are no open flames permitted in the area (candles, pyrotechnics, etc.).

  - All Assembly occupancies must maintain an accurate count of occupants and staff inside the facility at all times and ensure the maximum occupancy capacity is never exceeded.

  - All combustible/flammable materials must be stored in designated areas.

  - Never use extension cords as a means of permanent wiring. In addition, immediately discard any cords/electrical equipment found to be frayed or defective.

- Routine Safety Checks:

  - Keep building access and Fire Department Connections clear and accessible.

  - Ensure all fire protection/life safety system equipment is in operating condition, routine service work has been completed, and deficiencies have been addressed.

  - Hold and participate in all fire drills, noting and correcting any deficiencies.

  - Comply with the fire code. Immediately correct all violations.

  - In the event of a shutdown of any fire/life safety systems, notify the proper authorities and initiate alternative measures.

  - Appoint staff to carry out safety duties and ensure their instruction/compliance with all safety and prevention procedures.

  - Assure that checks, tests, and inspections are completed, documented, and retained at regular schedules.

  - Post and maintain copies of fire emergency procedures.

  - Keep a copy of these fire safety, emergency evacuation, and staff training plans on the premises in a designated location at all times.

  - Notify the Charleston Fire Department regarding any changes made to these Fire & Emergency Action Plans.

  - Ensure the Fire & Emergency Action Plans are kept current at all times.

  - Ensure the occupancy limit (staff included) is kept at or below the approved occupancy load at all times and is never breached for any reason.

  - Ensure all management and security staff are fully informed and compliant with the Crowd Management Plan.

- Fire and Emergency Drills:

Fire and emergency evacuation drills for this facility[Clarify or remove if not applicable] will be conducted with all staff at least annually.  Records will be maintained for each drill that include an approved fire drill record and staff attendance sheet.  Completed records will be retained for a period of not less than three years.

- Discovery of a fire:

  - Do not attempt to fight the fire unless you have been trained to do so.

  - Upon discovery of a fire or smoke, immediately alert other employees, patrons, or guests in the area of the situation and the need to evacuate.

  - Leave fire area immediately. When it is safe do so, close the doors in the immediate area.  This will reduce the available oxygen and may slow fire spread.  Only attempt this if you can do so safely and without placing the fire between you and your exit.

  - Initiate the building evacuation plan.

- Reporting a Fire:

  - All employees have the authority to notify 911, activate alarms, or give notice to anyone in the area the moment a fire situation exists on the premises. It is not necessary to consult a supervisor or manager prior to calling 911.

  - When an incident requires that the building be evacuated, all capable members will assist with initiating the building evacuation plan.

  - Managers, supervisors, or other designated members may have the additional responsibility of relaying an emergency announcement within their designated work area.  Designated members may also have the responsibility of making announcements via public address system.

- Evacuation due to a fire:

  - Upon activation of the building fire alarm system, announcement of a fire emergency, or other method of notification, immediately evacuate without delay.

  - Members in control of amplified music or similar items will, when it is safe to do so, turn off these elements to ensure the fire alert notifications can be heard.

  - Initiate the building evacuation plan.

- Controlling a fire:

Your safety is critical – firefighting should be left to professionals and those trained to use portable fire extinguishers.  However, there are several measures you can take to reduce or slow the progress of a fire.  These measures may be implemented if they can be done safely:

  - Close doors in the immediate or surrounding area near a fire, reducing the available oxygen and slowing the spread and progression of the fire.

  - As you exit, close additional doors.  This may assist with compartmentalization or isolation if the fire spreads beyond the original area.

  - If trained to do so, initiate fire extinguishment measures outlined in the next section.

- Portable Fire Extinguishers:

Portable fire extinguishers are intended for employees who have received appropriate training, or are for use by first responders.  In the event of fire, any trained employee may use a fire extinguisher to attempt to extinguish a small fire before, or during an evacuation. Never delay notification to the Fire Department of a fire emergency. This document will not go into specific training elements, but as a reminder:

  - Fire extinguishers are located in hallways and common areas near or along the exit path.

  - Remember that extinguishers are only effective on very small fires.

  - Always stay between the exit and the fire to maintain a safe exit path.

  - If you have been trained, implement the PASS (Pull, Aim, Squeeze, Sweep) method.

  - If one extinguisher does not control the fire, evacuate.

  - Always leave the area once an extinguisher has been discharged to avoid breathing the extinguisher powder.

  - If any portable fire extinguisher has been used, it will not be re-hung until it has been recharged by an approved contractor.

  - Always Keep all portable fire extinguishers visible and unobstructed.

- Kitchen Suppression System:

[Clarify or remove if not applicable] The designated cooking area is equipped with a kitchen suppression system.

- Procedure for Employees Who Operate Critical Operations Before They Evacuate:

[Clarify or remove if not applicable] During some emergency situations, it will be necessary for specifically assigned and properly trained employees to remain in work areas that are being evacuated long enough to perform critical operations. Each Department or Division Manager must identify any critical functions that must be performed and the staff who will carry out the function.

# Active Shooter Plan

Compliance Codes: Agency directive

Action

When an active shooter is in your vicinity

- Run

RUN

RUN

Have an escape route and plan in mind.

- Leave your belongings behind.

- Keep your hands visible.

- Hide

HIDE

HIDE

Hide in an area out of the shooters view.

- Block entry to your hiding place and lock the doors.

- Silence your cell phone and/or pager.

- Fight

FIGHT

FIGHT

As a last resort, and only when your life is in imminent danger.

- Attempt to incapacitate the shooter.

- Act with physical aggression and throw items at the active shooter.

When law enforcement arrives

- Remain calm and follow instructions.

- Put down any items in your hands (bags, jackets, etc.).

- Raise hands and spread fingers – keep hands visible at all times.

- Avoid quick movements towards officers.

- Avoid pointing, screaming, or yelling.

- Do not stop to ask officers for help or direction when evacuating.

Information you should provide to law enforcement or 911 Operator

- Location of the active shooter.

Call 911 when it is safe to do so

Call 911 when it is safe to do so

Number of shooters.

- Physical description of shooters.

- Number and type of weapons held by shooters.

- Number of potential victims at the location.

Safe location assembly point

- After leaving the building, report to [First designated safe location for accountability].

- If the primary location is not safe, report to [Alternate location].

Background

An Active Shooter is an individual actively engaged in killing or attempting to kill people in a confined and populated area; in most cases, active shooters use firearms(s), and there is no pattern or method to their selection of victims.  Active shooter situations are unpredictable and evolve quickly.

Typically, law enforcement is required to stop the shooting.  Active shooter situations are generally over within 10-15 minutes; therefore, employees must be prepared both mentally and physically to deal with an active shooter situation.

Our Active Shooter Program is focused on the program principles of “Run, Hide, Fight” and is supported with training material and resources to assist individuals and supervisors.

Responsibility

Managers and supervisors will conduct and document initial emergency plan training with all newly hired or assigned employees and annual refresher training.  During the annual training team members will review how these measures will be implemented and identify needed improvements or weakness that need to be addressed.

The most important part of the program requires the individual employee to become familiar with the material available, take the required training and to have a plan in place in advance, should an Active Shooter incident occur in their workplace.

All training must be documented.

Training Requirements

All employees will take the active shooter awareness course provided by the Emergency Management Institute (EMI) and provide a copy of the certificate of completion to their supervisor.  The program may be accessed at: 
https://emilms.fema.gov/IS907/curriculum/1.html.

All employees within a division will meet at least annually to review the active shooter plan and discuss specific actions per work area.  Supervisors should attend additional training regarding preparation, response and recovery actions following an incident.

Planning & Preparedness

- How to respond when an active shooter is in your vicinity:

Quickly determine the most reasonable way to protect your own life.  Remember that customers and clients are likely to follow the lead of employees and managers during an active shooter situation.  We will implement the strategies of “Run, Hide, Fight” in response to an active shooter situation.

RUN:  If there is an accessible escape path, attempt to evacuate the premises.  Be sure to:

- Have an escape route and plan in mind.

- Evacuate regardless of whether others agree to follow.

- Leave your belongings behind.

- Help others escape, if possible.

- Prevent individuals from entering an area where the active shooter may be.

- Keep your hands visible.

- Follow the instructions of any police ofﬁcers.

- Do not attempt to move wounded people.

- Call 911 when you are safe.

HIDE: If evacuation is not possible, ﬁnd a place to hide.

- Your hiding place should:

  - Be out of the active shooter’s view.

  - Provide protection if shots are ﬁred in your direction (i.e., an ofﬁce with a closed and locked door).

  - Not trap you or restrict your options for movement.

- To prevent an active shooter from entering your hiding place:

  - Lock the door.

  - Blockade the door with heavy furniture.

- If the active shooter is nearby:

  - Lock the door.

  - Silence your cell phone and/or pager.

  - Turn off any source of noise (i.e., radios, televisions).

  - Hide behind large items (i.e., cabinets, desks).

  - Remain quiet.

- If evacuation and hiding out are not possible:

  - Remain calm.

  - Dial 911, if possible, to alert police to the active shooter’s location.

  - If you cannot speak, leave the line open and allow the dispatcher to listen.

FIGHT: As a last resort, and only when your life is in imminent danger, attempt to disrupt and/or incapacitate the active shooter by:

- Acting as aggressively as possible against him/her.

- Throwing items and improvising weapons.

- Yelling.

- Committing to your actions.

- When law enforcement arrives:

Law enforcement’s purpose is to stop the active shooter as soon as possible.  Ofﬁcers will proceed directly to the area in which the last shots were heard.  Officers may:

  - Arrive in teams of four (4).

  - Wear regular patrol uniforms or external bulletproof vests, Kevlar helmets, and other tactical equipment.

  - Be armed with riﬂes, shotguns or handguns.

  - Use pepper spray or tear gas to control the situation.

  - Shout commands and push individuals to the ground for their safety.

- How to react when law enforcement arrives:

  - Remain calm, and follow ofﬁcers’ instructions.

  - Put down any items in your hands (i.e., bags, jackets).

  - Immediately raise hands and spread ﬁngers.

  - Keep hands visible at all times.

  - Avoid making quick movements toward ofﬁcers, such as holding on to them for safety.

  - Avoid pointing, screaming and/or yelling.

  - Do not stop to ask ofﬁcers for help or direction when evacuating, just proceed in the direction from which ofﬁcers are entering the premises.

- Information to provide to law enforcement or 911 operator:

  - Location of the active shooter.

  - Number of shooters, if more than one.

  - Physical description of shooter (s).

  - Number and type of weapons held by the shooter(s).

  - Number of potential victims at the location.

- Remember:

  - The ﬁrst ofﬁcers to arrive to the scene will not stop to help injured persons.

  - Expect rescue teams comprised of additional ofﬁcers and emergency medical personnel to follow the initial ofﬁcers.  These rescue teams will treat and remove any injured persons.  They may also call upon able-bodied individuals to assist in removing the wounded from the premises.

  - Once you have reached a safe location or an assembly point, you will likely be held in that area by law enforcement until the situation is under control, and all witnesses have been identiﬁed and questioned.  Do not leave until law enforcement authorities have instructed you to do so.

# Lockdown Plan

Compliance Codes: Agency directive

Action

Emergency Lockdown

Emergency lockdowns may be implemented when there is an immediate threat to the safety and wellbeing of staff and evacuation is not necessary or may pose a greater risk.  Staff and occupants will proceed to the nearest lockable area.

    - Alert staff in the immediate area of the need for an emergency lockdown.

    - Call or appoint a staff member to call 911 and advise of the situation.

    - When it is safe to do so, alert staff in the building and distribute the notice via email to the appropriate email distribution list with any specific details.

    - Designated personnel should make a building wide announcement “Emergency Lockdown,” repeated three times, when it is safe to do so.

    - Proceed to your designated work area or the nearest lockable work area. Ask any non-employees to accompany you to the nearest lockable area.

    - Take measures to secure the work area by locking outer or inner office doors.

    - Move away from doors and windows and to an interior area, keep calm and quiet.

    - Turn off the room lights, SMART boards, or projectors and close the window blinds if applicable and time permits.  Silence personal electronics such as cell phones.

    - Stay in the work area and await further directions, information, or the all clear from a credible source.  PA announcements may be made but will be followed with emails or phone calls to validate the announcement or a visit to the office by a first responder.

    - If unable to lockdown consider your options: Run – Hide - Fight

Administrative Lockdown

Administrative lockdown is used for internal or external disturbances that may impact the safety of our facility.  The purpose of this action is to limit or reduce movement within the building while further evaluation of threat is conducted.  General business activities within the office areas continue with a heightened sense of awareness.

- Alert staff in the immediate area of the need for an administrative lockdown.

- When it is safe to do so, alert staff in the building and distribute the notice via email to the appropriate email distribution list with any specific details.

- Designated personnel should make a building wide announcement, “Administrative Lockdown”, repeated three times, when it is safe to do so.

- Staff should remain in their assigned work area or at the current work location and reduce unnecessary movement in the hallways.

- Entry doors to office areas should be secured to prevent unattended entry, while maintaining the ability to exit, in order to reduce movement within the building.

- Continue routine work within office areas and routine public interface points with a heightened sense of awareness.

Background

The safety of our team is critical, and we must continue to evolve and develop strategies based on real or perceived threats.  These plans are not intended to scare staff, but to ensure they consider potential hazards and open the dialogue regarding the potential response.  The concept of administrative and emergency lockdown is just another tool for us to continue that dialogue of pre-event discussions, planning, and preparedness.

Responsibility

All employees must become familiar with their surroundings and how their work areas may be impacted in these situations.

Training Requirements

Managers and supervisors will conduct and document initial emergency plan training with all newly hired or assigned employees and annual refresher training.  During the annual training team members will review how these measures will be implemented and identify needed improvements or weakness that need to be addressed.

Planning & Preparedness

    - Emergency and administrative lockdowns are intended to provide additional safe guards to our team in the event of a potential or known threat in the area.  These situations may escalate or deescalate quickly and you should be ready for these changes.

    - Emergency lockdowns may be implemented when there is an immediate threat to the safety and wellbeing of staff, and evacuation is not necessary or may pose a greater risk.  The goal is to move staff and occupants to the nearest lockable area and notify other members as soon as possible.  The following items should be considered during an emergency lockdown:

- Call or appoint a staff member to call 911 and advise of the situation.  Provide 911 with details of the threat, the decision to enter an emergency lockdown status, and where you are located.

- When it is safe to do so, alert staff in the area and the building through available methods.  If practical, send out a notice vial email to appropriate staff or email distribution lists with any details regarding the situation and if 911 has been notified.

- When possible, and if it is safe to do so, designated personnel should make a building wide announcement, “Attention. Attention. Emergency Lockdown. Emergency Lockdown. Emergency Lockdown,” to ensure our team is notified as quickly as possible.

- Once the decision is made to shelter in place, proceed to your designated work area or the nearest lockable work area. Ask any non-employees to accompany you to the nearest lockable area.

- Take measures to secure the work area by locking outer or inner office doors.  Your goal is to place yourself and your team behind at least one or more locked doors.

- Move away from doors and windows, when possible, to an interior area, keep calm and quiet.

- If it is safe to do so and time permits, turn off the room lights, SMART boards, or projectors and close the window blinds.

- Silence personal electronics such as cell phones.

- Stay in the work area and await further directions, information, or the “all clear” from a credible source.  PA announcements may be made to announce the all clear, but they should be followed up with emails or phone calls from credible source or in person visits by first responders.

- Always keep in mind the active shooter concepts of Run-Hide-Fight.  The best option is often escape, but circumstances may provide a safer environment by seeking shelter in a secured area.

    - Administrative lockdown is used for internal or external disturbances that may impact the safety of our facility.  The purpose of this action is to limit or reduce movement within the building while further evaluation of threat is conducted.  General business activities within the office areas continue with a heightened sense of awareness.

- Alert staff in the immediate area of the need for an administrative lockdown.

- When it is safe to do so, alert staff in the building through available methods.  If practical, send out a notice via email to appropriate staff or email distribution lists with any details regarding the situation.

- When possible, and if it is safe to do so, designated personnel should make a building wide announcement “Attention. Attention. Administrative Lockdown. Administrative Lockdown. Administrative Lockdown,” to ensure our team is notified as quickly as possible.

- Staff should remain in their assigned work area or at the current work location and reduce unnecessary movement in the hallways.

- Entry doors to office areas should secured to prevent unattended entry, while maintaining the ability to exit, to reduce movement within the building.

- Continue routine work within office areas and routine public interface points with a heightened sense of awareness.  General business activities within the office areas continue with a heightened sense of awareness.

    - Any employee who reasonably sees the need can initiate an emergency or administrative lockdown.

    - If you are outside, the safest location may be away from the building.  Cautiously proceed to a designated safe area and notify your supervisor of your location.

    - If necessary, consider cover vs. concealment options.

      - Cover is a protective barrier used to protect one from flying bullets or debris.  Examples:  Large thick trees, thick book cases full of thick books, multiple layers of solid wood, thick solid metal doors, some brick walls, etc.  These are some examples to be considered, but are not definitive by any means.

      - Concealment (Hiding):  The use of one’s natural surroundings to blend in and remain undetected.  Examples:  Hiding in a cabinet, behind a desk, or curtain, etc.

# Crowd Management Plan

Compliance Codes: 2015 International Fire Code Chapter 4; City of Charleston Ordinance 21-51

Action

Assignment

      - It is the responsibility of the on-duty managers to ensure the required number of crowd managers are in place before and during all activities.

      - When a specific crowd manager(s) is not assigned, the responsibility is retained by the supervisor.

- On duty managers and crowd managers will conduct walkthroughs of the facility before, during, and after events in accordance with this section and correct any deficiencies.

Duties

- Conduct an inspection of the area and identify and address any egress barriers.

- Conduct an inspection of the area of responsibility to identify and mitigate any fire hazards.

- Verify compliance with all permit conditions, including those governing pyrotechnics and other special effects.

- Direct and assist the event attendees in evacuation during an emergency.

- Other duties as required by the fire code official.

- Other duties as specified in this plan.

Ratio of Crowd Managers

| Crowd Management |  |  |  | Late Night Ordinance Requirements |  |
| --- | --- | --- | --- | --- | --- |
| Occupants | IFC Requirements | NFPA Requirements |  | Occupants | Security Personnel Required (a) |
| <250 | 1 | 1 |  | <100 | 2 |
|  |  |  |  | 101-200 | 3 |
| 251-500 | 2 | 2 |  | 201-300 | 4 |
|  |  |  |  | 301-500 | 4 + 1 supervisor |
| 501-750 | 4 | 4 |  | 501-600 | 6 + 1 supervisor |
|  |  |  |  | 601-700 | 7 + 1 supervisor |
| >1000 | 4 + 1 every 250 | 4 + 1 every 250 |  | 701-800 | 7 + 2 supervisors |
|  |  |  |  | >801 | 2 per every 100, one supervisor for every 4 (b) |
| >1000 | 4 + 1 every 250 | 4 + 1 every 250 |  |  |  |

Background

Crowd management is an important function that every facility must consider but has been specifically required where large numbers of people gather for events, functions, or activities.  The previous table provides an overview of the requirements for crowd managers from the International Fire Code (IFC) and National Fire Protection Association (NFPA).  Additionally, the requirements for the City of Charleston Late Night Ordinance are included.

Crowd managers are dedicated individuals who have received specific training to assist with monitoring the facility before, during, and after an event to help reduce the probably of an emergency occurrence and remaining prepared to guide people during an emergency.  Crowd managers should be operating all the time in a proactive manner and must be ready to shift to a reactive mode at a moment’s notice.  They can directly contribute to reducing the probability and severity of an incident.

Responsibility

Business owners, managers, and supervisors are responsible for understanding the requirements associated with crowd managers, implementing these measures when necessary, and ensuring crowd managers and general staff receive adequate training.

All team members should be familiar with the elements expected of a crowd manager and actively contribute to reducing hazards during their assigned work periods.

Assigned crowd managers are responsible for understanding their responsibilities and proactively managing the crowds.

Training Requirements

Managers and supervisors will conduct and document initial emergency plan training with all newly hired or assigned employees and annual refresher training.  During the annual training team members will review how these measures will be implemented and identify needed improvements or weakness that need to be addressed.

All staff will receive routine training on the emergency plan and crowd managers will receive additional training specific to crowd management.  Training is available through various on-line resources, including:

- https://www.crowdmanagers.com/training ($19.95 fee)

- https://www.youtube.com/user/CFDFireMarshal (free)

All training must be documented and kept on file for three years in case of an emergency event.

Planning & Preparedness

- Before the Event or Opening

- Designate and train staff who will serve as Crowd Managers.

- Ensure all exits routes are clearly marked.

- Ensure there are an adequate number of marked EXIT doors with operating panic hardware.

- Ensure stock/storage does not obstruct aisles or exits.

- Ensure maximum capacity placards (Certificate of Occupancy signs) are posted.

- Clear all aisles and egress paths.

- Ensure the facility has a functioning fire alarm and sprinkler system (where applicable).

- Ensure facility has operating emergency lighting and create a testing cycle.

- Locate all the fire alarm pull stations.

- Walk outside the facility before each event.

    - Are the exits and walkways clear of obstructions or tripping hazards?

    - Is there adequate illumination where all of the exits discharge?

    - Is there proper clearance in the streets and parking area for emergency apparatus?

- Correct all fire code violations when they are spotted.

- During the Event or Normal Business Hours

- Prevent overcrowding by monitoring the number of patrons and employees in your area of assembly. Never exceed your authorized capacity.

- Walk the rooms and confirm that the exit paths remain clear.

- Educate all employees/staff as to the importance of maintaining clear exit paths.

- Ensure several staff/employees know how to turn up the lights.

- Ensure several staff/employees know how to turn down the music.

- Designate personnel responsible for making emergency announcements including providing the locations of all safe exits.

- Correct all fire code violations when they are spotted.

- Patrons waiting to enter building shall be in an orderly file and clear from egress paths. Employ safe crowd control mechanisms that do not promote panic.

- Crowd Managers Responsibilities:

- Complete the Fire and Building Safety Checklist daily prior to opening the facility to the public.

- Ensure sprinkler system has been inspected and tested within the last 12 months.

- Ensure the fire alarm has been inspected and tested within the last 12 months.

- Walk every room and confirm that the exit paths are staying clear.  Assure all marked exits remain unlocked and unobstructed at all times. Do not allow people to congregate around or block any exits.

- Look for situations that could create obstacles or challenges in the event of an emergency.

- Maintain all fire lanes, fire hydrants, and fire department connections free from vehicles and obstructions.

- Make sure that you have the adequate number of trained staff on duty for the number of occupants (30:1).

- Identify the person responsible for maintaining occupant load under posted limits. Fire official may request to see an accurate number of occupants upon inspection.

- Ensure the facility never exceeds its occupant load limit.

- Patrons waiting to enter building shall be in an orderly file and clear from egress paths. Initiate a fire alarm if necessary, directing occupants to exits.

- Identify the person responsible for making exit announcements.

- Assure that exit announcements are made via an audible announcement prior to the start of each special program or performance notifying occupants of the locations of exits to be used in emergencies.

- Retain a copy of each completed Fire Safety Survey on the premises for at least one year. The original survey shall be kept on the premises and be subject to inspection by Charleston Fire Marshal or his designee.

SPECIAL EFFECTS AND INDOOR PYROTECHNICS ARE PROHIBITED

from use without prior pre-approval and permits.

# Severe Weather Plan

Compliance Codes: Agency directive

Action

Monitoring conditions

- All team members should be aware of current and predicted weather impacts.

- Share weather information with team members that may impact safety or service levels.

- When practical, plan in advance of the severe weather and make necessary adjustments to ensure safety.

- The supervisor or their designee will monitor impending weather conditions and make adjustments as necessary.

- Notify staff of how changes or updates will be communicated (phone, email, text, etc.).

Notification of staff

- Notify staff when weather events may impact safety or service.

- Inform staff of any alternate work plans or schedules related to weather.

- Determine if changes adversely impact any employees (schedule changes related to family, etc.) and make adjustments as needed.

Seeking Shelter

- When necessary, seek shelter from the weather based on your emergency plan training.

- Sheltering needs may change based on your location and the type of event.

- When sheltering away from your normal work location notify your supervisor of your location and situation.

- Shelter

Departing the area

- When necessary, depart the immediate area to seek shelter at an appropriate location based on your emergency plan training.

- The need to seek alternate shelter will vary based on the type of event.

- When it is safe to do so, notify your supervisor and/or co-workers of your new location.

Accountability

- When weather events are impending, supervisors should verify they have accountability of their team and a detailed work plan/location for staff for the day.

- Team members must communicate changes to their work plan with their supervisor and co-workers.

- Following a severe weather event or disaster, supervisors will account for all team members.

- Team members must ensure any changes to their home phone, cell phone, home address, and emergency contacts are provided to their supervisor as quickly as possible.

- Each Division/Department manager will maintain a complete roster that includes known contact information and emergency contact information for all team members.

Background

Our severe weather plan identifies protective actions to take during severe weather by management, staff personnel, and attendees of special events at our facility.  We must exercise flexibility when implementing this plan because of the wide variety and threat levels of severe weather that occur in the Charleston area.  If discretion is exercised, our managers will err on the side of safety.

Types of hazards: lightning, flooding, severe thunderstorms, hurricanes, tropical storms, tornadoes, earthquakes, extreme cold, extreme heat.

Responsibility

Supervisors are responsible for ensuring their team members receive training in the severe weather plan and communicating with staff during weather events.

All team members are responsible for remaining familiar with severe weather expectations and monitoring appropriate information sources during weather events.

Training Requirements

Managers and supervisors will conduct and document initial emergency plan training with all newly hired or assigned employees and annual refresher training.  During the annual training team members will review how these measures will be implemented and identify needed improvements or weakness that need to be addressed.  All training must be documented.

Planning & Preparedness

    - Monitoring conditions

The possibility of severe weather may exist at any time.  All team members should be aware of current and predicted weather conditions and share information that may impact safety, service levels, events, or activities.

  - Advanced planning is crucial, when possible, to ensure a safe outcome.

  - In general, each Division/Department Manager and area supervisors are responsible for employee safety during normal business hours and will provide updates.

  - Supervisors are responsible for monitoring specific weather conditions and ensuring their team is informed or implementing specific changes to improve safety.

    - Seeking Shelter

- When necessary, seek shelter from the weather based on the type of event.  Sheltering needs may change based on your location and the type of event.

- When sheltering away from your normal work location, notify your supervisor of your location and situation.  If you cannot contact your supervisor, try to make sure someone is aware of your current situation.

- In the event of a Tornado Warning, sighting, or touchdown, the following locations are generally considered best practices from the Storm Prediction Center:

  - In a house with no basement, a dorm, or an apartment: Avoid windows. Go to the lowest floor, small centered room (like a bathroom or closet), under a stairwell, or in an interior hallway with no windows. Crouch as low as possible to the floor, facing down; and cover your head with your hands.

  - In a commercial building: Go directly to an enclosed, windowless area in the center of the building -- away from glass -- and on the lowest floor possible. Then, crouch down and cover your head. Interior stairwells are usually good places to take shelter, and if not crowded, allow you to get to a lower level quickly.

  - In a car or truck: Vehicles are extremely risky in a tornado. If the tornado is visible, far away, and the traffic is light, you may be able to drive out of its path by moving at right angles to the tornado. If you are caught by extreme winds or flying debris, park the car as quickly and safely as possible -- out of the traffic lanes. Stay in the car with the seat belt on. Put your head down below the windows; cover your head with your hands and a blanket, coat, or other cushion if possible. If you can safely get noticeably lower than the level of the roadway, leave your car and lie in that area, covering your head with your hands. Avoid seeking shelter under bridges, which can create deadly traffic hazards while offering little protection against flying debris.

  - In the open outdoors: Lie flat and face-down on low ground, protecting the back of your head with your arms. Get as far away from trees and cars as you can.

    - Flooding safety

- Basic Safety Tip

  - Turn Around, Don’t Drown!

  - Avoid walking or driving through flood waters.

  - Just six inches of moving water can knock you down, and two feet of water can sweep your vehicle away.

  - If there is a chance of flash flooding, move immediately to higher ground. Flash floods are the #1 cause of weather-related deaths in the United States.

  - If floodwaters rise around your car but the water is not moving, abandon the car and move to higher ground. Do not leave the car and enter moving water.

  - Parking near streams, rivers, or areas prone to flooding during heavy rainfall. These areas can flood quickly and with little warning.

- After a Flood

  - Return home only when authorities say it is safe.

  - Be aware of areas where floodwaters have receded and watch out for debris. Floodwaters often erode roads and walkways.

  - Do not attempt to drive through areas that are still flooded.

  - Avoid standing water as it may be electrically charged from underground or downed power lines.

  - Photograph damage to your property for insurance purposes.

    - Definitions

- Flash Flood: A flood which is caused by heavy or excessive rainfall in a short period of time, generally less than six hours. Also, at times a dam failure can cause a flash flood, depending on the type of dam and time period during which the break occurs.

- Flash Flood Warning: A flood which is caused by heavy or excessive rainfall in a short period of time, generally less than six hours. Also, at times a dam failure can cause a flash flood, depending on the type of dam and time period during which the break occurs.

- Flash Flood Watch: Issued to indicate current or developing hydrologic conditions that are favorable for flash flooding in and close to the watch area, but the occurrence is neither certain or imminent.

- Severe Thunderstorm Watch: This is issued by the National Weather Service when conditions are favorable for the development of severe thunderstorms in and close to the watch area. A severe thunderstorm by definition is a thunderstorm that produces one-inch hail or larger in diameter and/or winds equal or exceed 58 miles an hour.

- Severe Thunderstorm Warning: This is issued when either a severe thunderstorm is indicated by the WSR-88D radar or a spotter reports a thunderstorm producing hail one inch or larger in diameter and/or winds equal or exceed 58 miles an hour; therefore, people in the affected area should seek safe shelter immediately.

- Tornado Watch:  Conditions are favorable for the development of tornadoes in and close to the watch area. Their size can vary depending on the weather situation. They are usually issued for a duration of four to eight hours. They normally are issued well in advance of the actual occurrence of severe weather.

- Tornado Warning:  This is issued when a tornado is indicated by the radar or sighted by spotters; therefore, people in the affected area should seek safe shelter immediately. They can be issued without a Tornado Watch being already in effect. They are usually issued for a duration of around 30 minutes.

- Tornado Sighting/Touchdown:  If a tornado has been sighted in the area, or if a touchdown has occurred, staff should immediately implement the steps outlined in the Action plan of the first segment of this chapter.

- Other Severe Weather:  If other severe weather occurs (such as heavy rain, high winds, lightning, hail, etc.), all activities will be interrupted immediately, and the specific weather issues will be announced.

# Earthquake Plan

Compliance Codes: Agency directive

Action

Before

Identify safe spots at home and work:

- Under sturdy tables or desks.

- In structurally sound or strongly supported doorways.

- In a small room or hallway.

- Never take cover near windows or heavy furniture that can tip over, such as bookcases and entertainment units.

- Avoid poorly supported doorways, such as those with metal frames.

During

Stay Calm. The precautions you should take are determined by where you are when the earthquake begins.

- If inside, take cover using the drop, cover, and hold on technique. If you must move for safety, take only a few steps and stay there until the shaking stops.

- If outside, stay at least 10 feet away from any building from which window glass and other debris could fall. Move away from trees, streetlights, and power lines. Crouch down and cover your head.

- If in a vehicle, park in a location away from trees, wires, buildings, bridges and overpasses. Stay where you are, with your safety belt fastened, until the earthquake is over. Never stop under or on a bridge.

- If in a coastal area, move to high ground.

- If in a mountainous area, watch for and avoid falling rocks, broken roadbeds, landslides and falling debris.

After

- Earthquakes are dangerous, but the disasters they can trigger such as fires, floods, landslides, tsunamis (giant sea waves) and avalanches can be more devastating.

- Expect aftershocks, smaller earthquakes that can occur after a major quake.

- Monitor radio news reports for updates and the latest emergency information.

- The risk of injury increases for those who go outside too soon.

- If you lose electricity, use a flashlight. Never use candles because of the possibility of a gas leak and the danger of fire.

- When authorities say the event has ended, check your property for structural damage, gas leaks, and fire.

- Report any problems to the appropriate authorities. Record any damage that has resulted from the quake.

Background

Our earthquake action plan identifies basic protective actions suggested by the FEMA National Earthquake Information Center.  These events are unpredictable and will require staff to react as quickly and safely as possible during and after the event.    If discretion is exercised, our managers will err on the side of safety.

Responsibility

Supervisors are responsible for ensuring their team members receive training in the earthquake action plan and evacuation procedures and remain familiar with these expectations.

All team members are responsible for remaining familiar with expectations outlined in this document, are aware of their surroundings, and identify multiple egress routes from their work area.

All members should survey they areas to identify potential fall hazards, safe areas, and escape routes in the event of an earthquake.

Training Requirements

Managers and supervisors will conduct and document initial emergency plan training with all newly hired or assigned employees and annual refresher training.  During the annual training team members will review how these measures will be implemented and identify needed improvements or weakness that need to be addressed.

Planning & Preparedness

The information provided in the action plan is intended as a basic resource.  Team members are encouraged to conduct additional research and develop facility specific information.  Additional resources include:

- Video: When the earth shakes – animated video: https://www.youtube.com/watch?v=YXxPTAhMGLI

- FEMA Checklist: Earthquake Safety Checklist

# Medical Emergency Plan

Compliance Codes: Agency directive

Action

Team members will immediately report any emergency medical event without delay.  All team members have the ability to initiate the emergency medical plan and may call 911 as necessary to initiate a medical response.  Members with appropriate training may initiate additional care such as CPR or first aid measures to control heavy bleeding.

Dial 9-1-1

- The dispatcher will ask detailed question, provide as much information as possible.

- Clarify your location, nature of the injury or illness, and if any hazards are involved.

- Advise on the nearest entry point for emergency responders.

Assess the victim

- Do not move the victim unless the injured party is in danger of further injury.

- If it is safe to do so, obtain basic information from the injured party.

- Obtain any details on the incident that may assist emergency responders.

Isolate

- Control access to the immediate area.

- If it is safe to do so, remove unaffected parties from the area.

- If it is safe to do so, improve the safety of the victim.

Notify Staff

- Notify the nearest supervisor of the incident.

- Request an employee retrieve the nearest first aid kit, if available, and automatic external defibrillator (AED) located on each floor of our building (see map in Appendix B).

- Staff trained in first aid and CPR may initiate additional care, when it is safe to do so.

- Send one staff member to the primary entry to lead first responders to the incident location.

Additional notification:

- After the emergency event notify additional staff per agency policy.

- Complete necessary paperwork to document the event.

Location of First Aid Kits

- First Aid Kits are located at:

  - [Update as needed]

Location of AEDs

      - [Update as needed] AEDs are located at on each floor of the building – see the map in Appendix B.

Background

Rapid emergency medical care is the best way to ensure a positive outcome to any medical emergency.  Typically, emergency medical care is provided by trained first responders who are activated through the 911 system.  Some members located on site may receive additional training and may initiate care within their scope of training.  Should a minor medical emergency arise, staff/employees who are able should administer basic first aid and notify proper authorities of the situation.

Responsibility

Supervisors are responsible for ensuring their team members receive training on the emergency plan and notifying team members if any employees have received first aide training.

All team members are responsible for remaining familiar with this plan and aware of the location of emergency medical supplies and devices in the work area.

Team members will immediately report any emergency medical event without delay.  All team members have the ability to initiate the emergency medical plan and may call 911 as necessary to initiate a medical response.  Members with appropriate training may initiate additional care such as CPR or first aid measures to control heavy bleeding.

Training Requirements

Managers and supervisors will conduct and document initial emergency plan training with all newly hired or assigned employees and annual refresher training.  During the annual training team members will review how these measures will be implemented and identify needed improvements or weakness that need to be addressed.

Team members who received additional training must ensure they remain current with required fresher training.  Members who received AED training must receive annual refresher training.

Planning & Preparedness

              - Dial 9-1-1 and notify staff

                - The 911 communication system is the best way to report an emergency.

                - Dial 911 by directly dialing “911” from any desk phone or Cell phone.  [Updated as necessary] Dialing “9-911” from a desk phone will also connect to 911 ([Update as necessary] dialing the “9” prefix is not required).

                - The dispatcher will ask detailed question, provide as much information as possible.

                - Clarify your location, nature of the injury or illness, and if any hazards are involved.

                - If you are calling from a cell phone you will need to provide your address and specific location within the building.

                - If you are calling from a building phone your address should appear on the dispatcher’s screen, however, you will need to provide the address for verification.

                - Advise on the nearest entry point for emergency responders.

              - Notify Staff

- Work with team members in the area to ensure a supervisor in the area is aware of the event.

- In the event of a serious medical event, retrieve or request an employee or bystander retrieve the nearest first aid kit and AED.

- Staff trained in first aid and CPR may initiate additional care, when it is safe to do so.

- Send one staff member to the primary entry to lead first responders to the incident location.

              - Assess the victim and isolate the area

- Your safety is the most important consideration during any medical situation.  You should not place yourself in danger or risk exposure.

- If it is not safe for you to assess the victim, stay clear and make sure 911 has been activated.

- Do not move the victim unless they are in danger of further injury.

- If the victim is conscious, try to obtain additional information regarding the incident and share the information with 911.  Any details on the incident may assist 911 with determining the necessary resources to send to the emergency.

- Move observers and other away and start to create a clear path for emergency responders.

              - First Aid Response [Update as needed]

              - Responding emergency personnel will perform necessary emergency medical duties.

              - No staff/employees are assigned to perform medical care during emergency evacuation situations.

              - Should a minor medical emergency arise outside of an emergency event, staff/employees who are able, should administer basic first aid and notify proper authorities of the situation.

              - All employees trained to provide basic first aid and/or CPR have received specific training to carry out these assigned duties.

              - AED Locations [Update as needed]

- AEDs have been provided in the facility and are located on each floor of the building, generally located at or near the elevator lobby.  See the map in Appendix B for specific locations.

- AEDs that have been registered through 911 to dispatchers can serve as an additional resource in locating the device.

# Bomb Threat Management

Compliance Codes: Agency directive

Action

Risk Assessment

Risk Assessment

Receiving a threat by:

Phone

- Remain calm and DO NOT HANG UP.

- If possible, signal other staff members to listen.

- Copy information from caller ID screen.

- Write down the exact wording of the threat.

- Keep the caller on as long as possible.

- If possible, record the call.

- Use the Bomb Threat Checklist immediately.

- Notify supervisor(s) and law enforcement.

- Remain available to speak first responders.

Verbal

- Note direction perpetrator leaves.

- Note objects carried or left behind.

- Notify supervisor(s) and authorities.

- Write down the threat exactly as stated.

- Note the description of the person.

- Notify supervisor(s) and law enforcement.

- Fill out the Bomb Threat Checklist immediately.

Written

- Handle the document as little as possible.

- Notify supervisor(s) and authorities.

- Rewrite, copy, or photograph the threat.

- Note the date/time/location document was found.

- Note any situations or conditions at discovery/delivery.

- Note the full names of any personnel who saw the threat.

- Secure the original threat; DO NOT alter.

- If small/removable, place in a bag or envelope.

- If large/stationary, secure the location.

E-mail

- Leave the message open on the computer.

- Notify supervisor(s) and law enforcement.

- Print, photograph, or copy the message.

Suspicious Packages

- DO NOT touch, tamper, or move the item.

- Clear and isolate the immediate area.

- Notify supervisor(s) and law enforcement.

- Assess need for partial or full evacuation.

Background

Bomb threats are rare but should always be taken seriously.  How quickly and safely you react to a bomb threat could save lives, including your own.

A suspicious item is defined as any item (e.g., package, vehicle) identified as potentially containing explosives, an improvised explosive device (IED), or other hazardous material that requires bomb technician diagnostic skills and specialized equipment for further evaluate. Suspicious indicators are based upon the prevailing and/or communicated threat, placement, and proximity of the item to people and valuable assets. More tangible aspects include, but are not limited to, unexplainable wires or electronics, other visible bomb like components, unusual sounds, vapors, mists, or odors.

Responsibility

Managers and supervisors are responsible for providing training and resources that make up the program.  The most important part of the program requires the individual employee become familiar with the material available, take the required training and have a plan in place and in advance should an Active Shooter incident occur in the workplace.

Training Requirements

Managers and supervisors will conduct and document initial emergency plan training with all newly hired or assigned employees and annual refresher training.  During the annual training team members will review how these measures will be implemented and identify needed improvements or weakness that need to be addressed.

All employees will meet at least annually to review the bomb threat procedures, the bomb threat checklist, verify checklists are available near each primary phone, and discuss specific actions per work area.

All employees should review the video “What You Can Do When There Is a Bomb Threat” from the U.S. Department of Homeland Security and the University of Central Florida.  The video is less than five minutes long and provides a good overview for all team members.  Staff members may search for the video based on the title above or visit www.dhs.gov/obp and follow the links under “What You Can Do When There Is a Bomb Threat.”

Supervisors are encouraged to utilize the video during team training events and to search for additional materials to continue to refresh this topic with their team.

Planning & Preparedness

The following information has been provided in the Bomb Threat Guidance information published by the FBI and the US Department of Homeland Security.

    - Planning Considerations

      - Coordinate with local law enforcement and first responders to ensure smooth handling of a bomb threat.

      - Develop clear-cut primary and alternate levels of authority (referred to in this document as “Site Decision Maker(s)”).

      - Select Evacuation Teams and Search Teams.

      - Develop a training plan.

      - Determine search procedures.

      - Designate control center locations.

      - Plan for emergency assistance (police, fire, etc.).

      - Establish primary and alternate evacuation routes and assembly areas.

      - Establish evacuation signal(s).

      - Develop a communications plan.

      - Determine procedures for accessing/shutting off & reactivating utilities.

    - Preparation Considerations

      - Control building access.

      - Implement strict master key control.

      - Inspect incoming parcels.

      - Safeguard confidential material.

      - Keep exits unobstructed.

      - Ensure adequate internal/external emergency lighting.

      - Utilize electronic surveillance.

    - Receiving a Threat

      - Phoned Threat

        - Remain calm and DO NOT HANG UP.

        - If possible, signal other staff members to listen and notify Site Decision Maker(s) and authorities.

        - If the phone has a display, copy the number and/or letters on the window display.

        - Write down the exact wording of the threat.

        - Keep the caller on for as long as possible, use the Bomb Threat Checklist to gather as much information as possible.

        - If possible, record the call.

        - Fill out the Bomb Threat Checklist immediately.

        - Be available for interviews with the building’s emergency response team and law enforcement.

  - Verbal Threat

    - If the perpetrator leaves, note which direction he/she went.

    - Notify the Site Decision Maker(s) and authorities.

    - Write down the threat exactly as it was communicated.

    - Note the description of the person who made the threat:

      - Name (if known)

      - Race

      - Gender

      - Type/Color of clothing

      - Body size (height/weight)

      - Hair & eye color

      - Distinguishing features

      - Voice (loud, deep, accent, etc.)

  - Written Threat

- Handle the document as little as possible.

- Notify the Site Decision Maker(s) and authorities.

- Rewrite the threat exactly as is on another sheet of paper and note the following:

  - Date/time/location document was found.

  - Any situations or conditions surrounding the discovery/delivery.

  - Full names of any personnel who saw the threat.

  - Secure the original threat; DO NOT alter the item in any way.

  - If small/removable, place in a bag or envelope.

  - If large/stationary, secure the location.

  - E-mailed Threat

    - Leave the message open on the computer.

    - Notify the Site Decision Maker(s) and authorities.

    - Print, photograph, or copy the message and subject line, noting the date and time.

    - Threat Assessment

Often, there is no single deciding factor, one must consider all the facts, the context, and conclude from the whole picture whether there is a possible threat. All threats should be carefully evaluated.

Review the threat assessment categories of Low, Medium, and High outlined in the Action section of this chapter.

    - Staff Response

      - Site Decision Makers

        - Immediately contact local law enforcement if not done.

        - Mobilize the building emergency response team(s).

        - Communicate with personnel about bomb threat condition.

        - Limit access to building.

        - Evaluate authenticity of threat.

        - Decide on appropriate action or combination of actions:

          - Lockdown: partial or full

          - Search: partial or full

          - Evacuation: partial or full

  - If Search is Initiated

    - Assemble and deploy search teams.

    - Search the entire building and grounds.

    - Account for all personnel.

    - General Search guidelines include:

      - Start on the outside of the building and work inward

      - When inside, start at the bottom and work upward

      - Search personnel should always work towards one another

      - Listen for background noises

      - Clear evacuation routes and assembly areas

      - If suspicious item is located, leave indicators for emergency services

  - Personnel

    - If search is initiated by Site Decision Maker(s), make a quick and complete visual scan of the workplace and any other common areas assigned.

    - Divide room into various search levels.

    - First, conduct a visual sweep all objects resting on the floor or built into walls, up to your waist.

    - Scan the room from waste– to chin-height.

    - Scan room from top of head to the ceiling, including air ducts, window tops and light fixtures.

    - If anything unusual is noticed, move people away from the potential hazard and immediately report the location of the object to the Site Decision Maker(s).

    - Use of radio communications is NOT recommended unless the area has been cleared.

    - Suspicious Items

      - Defined: A suspicious item is defined as any item (e.g., package, vehicle) identified as potentially containing explosives, an IED, or other hazardous material that requires bomb technician diagnostic skills and specialized equipment for further evaluate. Suspicious indicators are based upon the prevailing and/or communicated threat, placement and proximity of the item to people and valuable assets, and more tangible aspects to include, but not limited to; unexplainable wires or electronics, other visible bomb-like components, unusual sounds, vapors, mists, or odors.

      - If Suspicious Item is Found

          - DO NOT touch, tamper with, or move the item.

          - Immediately report item to Site Decision Maker(s) and local law enforcement/first responders.

          - Site Decision Maker(s) must:

            - Ensure area is secured and cleared of personnel.

            - Notify Search Teams.

            - Ensure emergency responders are briefed.

            - Evacuation and Search teams should remain available to assist and inform evacuees, media, staff, and others.

  - NOTE: the discovery of one device should not automatically mean the conclusion of a search; More devices may be present!

  - The Site Decision Maker(s) must take this into consideration during the planning and execution stages of the facility’s Bomb Threat Response Plan.

    - Lockdown / Evacuation

      - Considerations

          - Threat Assessment—is the threat credible?

          - Search results—were any suspicious items located?

          - What type of response is warranted considering totality of the circumstances?

          - Partial or full lockdown?

          - Partial or full evacuation?

          - No action?

      - If Evacuation is initiated

- Select evacuation routes and assembly areas that are not in the vicinity of the suspicious item; ensure these routes have been searched and cleared.

- Notify police/fire/EMS of evacuation and request assistance.

- Account for all personnel.

- Evacuation Team confirms the building is empty.

- Bring Emergency Kit and Building Trauma Kits, if available.

- Advise all evacuees to remove all personal items (i.e., purses, backpacks).

      - Continuing Actions After Evacuation

- Debrief emergency services and assist in coordinating further actions.

- Take accountability and report.

- Open media, medical and family areas—brief regularly.

- As appropriate, determine reoccupy or dismiss action.

  - Reoccupy when cleared and deemed appropriate.

  - Dismiss in consultation with site administration.

  - Notify all personnel of decision and ensure accountability.

- Site Decision Maker(s) remain(s) on-scene until situation is resolved or until relieved by another administrator.

    - A Final Note

Every bomb threat is unique and should be handled in accordance with the needs of the facility. Prior to any threat, Site Decision Maker(s) and administrators should utilize this and other existing federal guidance to work with their local first responders to establish a Bomb Threat Response plan that addresses each risk level appropriately and is optimal for their building(s) and personnel.

# Security Threats and Assessments

Compliance Codes: Agency directive

A risk assessment provides the information needed to create emergency-specific plans and protocols. It can be proactive, such as the examination of the security risks present on the exterior of the building to ward off or prevent burglaries.  It can be reactive, such as considering scenarios and actions to be taken if a situation occurs within the building. Supervisors will be responsible for routinely surveying and considering the following elements:

General

- Verify building access points supervised.

- Maintain building doors and egresses in proper working condition.

- Maintain external windows secured and in good condition.

- Check the security of doors and windows before closing the business.

- Maintain landscaping to promote visibility around the perimeter of your building.

- Maintain exterior lighting around the perimeter of the building and in parking areas.

- Maintain on site security systems and track who has access to the system.

- Ensure staff understands the procedures to activate and deactivate the security alarm system.

- Maintain Closed Circuit TV (CCTV) or other recording equipment and ensure staff members are available and trained to operate the system.

- Ensure CCTV or other recording devices provide adequate coverage of the premise.

- Determine who has keys/access to the facility and maintain key logs.

- Identify safe storage locations for critical information or records (fire proof safe, offsite location, etc.) and determine who should have access.

Property Identification

- Maintain records of the make, model, and serial numbers of important business items or equipment.

- Take photographs of the facility and property and store at a safe location.

Communication Devices

- Post emergency contact numbers on or near business telephones.

- Password protect business computers and change the passwords frequently.

- Maintain antivirus software and firewalls and business computers.

Personnel Security & Safety

- Train crowd managers and security guards to respond to anticipated emergencies.

- Clearly instruct staff members on the occupant load limitations and post designated members at the entry door to track, manage, and record occupant load conditions.

- Train security personnel on the facilities policies, procedures, and expectations that should be carried out during a disruptive or violent encounter

- Conduct routine safety briefings with all staff members.

Cash Handling

- Establish and train staff on cash-handling procedures.

- Ensure lockable cash drawers are in place and identify who has access.

- Count money outside of the public’s view.

- Establish and train staff on cash transportation procedures.

Emergency Planning

- Maintain a current copy of the emergency plan in a location accessible to all employees.

- Notify all employees of the emergency plan location.

- Conduct refresher training on the emergency plan at least annually.

# Appendix A – Emergency Evacuation Diagram

[Insert diagrams of maps of the area or building.  May require floorplans per floor.  Green arrows may be added to identify exit path and direction.  Primary stairs may be marked with a green box]

[Diagram]

[Diagram]

# Appendix B – Building Life Safety Resources

Maintenance & Inspection of Fire & Life Safety Systems

Regular checks and inspections shall be made of all fire and life safety systems.  Management will conduct a routine check on the systems and place service calls as needed. Annual inspections will be conducted by the vendors outlined below.

| Fire Sprinkler System | Yes | No | Details |
| --- | --- | --- | --- |
| Fire Sprinkler System |  |  | {Coverage – full, partial, etc.} |
| Fire Department Connection (FDC) |  |  | {Location} |
| Fire pump present |  |  | {Location} |
| Floor control valves (water shut off) |  |  | {Location} |
| Main control valve |  |  | {Location} |
| Connected to the fire alarm system |  |  |  |
| Service company |  |  | {Name} {Phone} |

| Fire Standpipe System | Yes | No | Details |
| --- | --- | --- | --- |
| Fire Standpipe System |  |  |  |
| Occupant use hoses |  |  | {Location} |
| Fire Department use connections |  |  | {Location} |
| Service company |  |  | {Name} {Phone} |

| Fire Alarm System | Yes | No | Details |
| --- | --- | --- | --- |
| Fire Alarm System |  |  |  |
| Smoke detectors present |  |  | {General coverage/locations} |
| Duct smoke detectors present |  |  | {General coverage/locations} |
| Manual pull stations present |  |  | {General coverage/locations} |
| Service company |  |  | {Name} {Phone} |

| Kitchen Fire Suppression System | Yes | No | Details |
| --- | --- | --- | --- |
| Kitchen Fire Suppression System |  |  |  |
| Manual activation pull stations |  |  | {Location} |
| Fuel source shutoff |  |  | {Location} |
| Fire Suppression Service Company |  |  | {Name} {Phone} |
| Exhaust Hood Cleaning Company |  |  | {Name} {Phone} |

| Building Features / Details | Details |
| --- | --- |
| Knox Box System for FD Access | {Locations} |
| Nearest Fire Hydrant(s) | {Location} |
| Portable Fire Extinguishers | {general locations/distribution} |
| Main Electrical Shut Off | {Location} |
| Main Gas Shut Off | {N/A or description} |
| Heating System | {Electric/Gas, etc.} |
| Emergency Lighting | {N/A or general description} |
| Emergency Generator | {N/A or location and description of items served} |
| Hazardous Materials on Site | {N/A or Yes – see appendix} |
| {Other} |  |
| {Other} |  |

Automatic External Defibrillator (AED)

[Clarify or remove if not applicable] AED’s are provided at key locations throughout the building and are available for members who have received basic training on the device.

Each AED is located within a secured cabinet that will sound a local alarm when the door is opened.  Please note this alarm is only to alert people in the area that the device was activated, the alarm does not transmit any type of signal to 911.

Diagrams are provided on the following pages outlining the specific locations of the devices.  Staff should find the nearest device to their work area.  Any noted issues or problem should be report to the building Facility Manager.

[Insert photo of typical storage location or cabinet]

[Insert photo of typical storage location or cabinet]

AED Locations – [Floor or area]

[Clarify or remove if not applicable] Two AED’s are available at the main level of the building.

The first is located in the elevator lobby, near the George Street entrance, adjacent to the doorway leading to the Ballrooms.  See below.

[Insert floorplan and mark the location of the AED.  Add photos to clarify location]

[Insert floorplan and mark the location of the AED.  Add photos to clarify location]

# Appendix C – Pre-event Emergency Announcement

Pre-event announcements should be made for a variety of circumstances but are required in theaters, motion picture theaters, auditoriums and similar assembly occupancies used for non-continuous programs.  Announcements must be made not more than ten minutes prior to the start of each program to notify the occupants of the location of the exits to be used in the event of a fire or other emergency.

Motion picture theaters are permitted to project the announcement upon the screen.

Suggested basic content:

Ladies and gentlemen, may I have your attention for announcement regarding important safety information.  In the event of an emergency, and we are required to evacuate, please locate the closest emergency exit and exit immediately but calmly.

To exit this room, proceed to the marked exits located at [provide the necessary directions to exit to the nearest exit door, pointing toward the door(s)] [Note – multi level rooms may require additional directions per level/balcony, etc.]

Please assist those around you with exiting as needed, and if you can do so safely.

Once you exit through the door then proceed [describe what happens immediately outside the door – such as how to continue through the exit to the outside]. Follow the exit signs to exit the building at [Provide details as need to describe the use of stairs or where to exit the building].  Do not use the elevator.

Once you are safely out of the building please proceed to the primary evacuation assembly area located at [location – point in the general direction] to await further instructions.

This completes our safety announcement.  Thank you.

# Appendix D – Fire Drill Record

| Facility name: |  |  | Date: |  |
| --- | --- | --- | --- | --- |
| Address: |  |  | Start time: |  |
| Person conducting drill: |  |  | End time: |  |

| Alarm company notified prior to drill: |  |  |  |
| --- | --- | --- | --- |
| Fire Department notified prior to drill: |  |  |  |
| Fire alarm activation method: |  |  |  |
| Weather conditions: |  |  |  |

| Time required to complete evacuation: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Number of Occupants Evacuated: |  |  |  |  |
| Employees participating (names, departments, etc.): |  |  |  |  |

| Special conditions simulated: |  |  |  |
| --- | --- | --- | --- |
| Problems Encountered |  |  |  |
| Employees reported to meeting place: |  |  |  |

| Fire alarm system restored: |  |
| --- | --- |

Critique:

# Appendix F – Hazardous Materials Stored on Premises

{List specifics, example provided below. If not applicable remove page and item from table of contents}

| Item | Product Name | Common Name or use | Use Area | Storage Area |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |
| 9 |  |  |  |  |
| 10 |  |  |  |  |